Denagene Tajhiz Company

Biotechnology Lab Equipment manufacturer and designer

Microfuge Vortex

User Guide

Thanks for choosing The Denagene Tajhiz Company’s Real-Time Electrophoresis. This operation manual describes the function of the instrument. To ensure you can correctly operate the instrument, please read the manual carefully before using it. Please keep this manual properly for later use if you encounter any difficulty. The first time opening the packing, please check the instrument and appendix with the packing list. If anything does not match the packing list, don't hesitate to get in touch with us.

This manual is a valuable resource for all users of our products, whether you are a seasoned professional or just starting your scientific journey. It has been meticulously crafted to ensure that you clearly understand the features, functionality, and proper usage of our laboratory equipment.

Within these pages, you will find detailed instructions, diagrams, and troubleshooting guides that will assist you in harnessing the full potential of our products. We have taken great care to ensure that the content is organized logically, making it easy for you to navigate through the manual and locate the information you need quickly.

Moreover, this manual is a living document that reflects our ongoing commitment to excellence. As we continue to develop and improve our product offerings, we will provide updates and revisions to this manual to ensure that you always have the most up-to-date information at your fingertips.

Reproduction in any form, whether print or electronic, without written permission from Denagene Tajhiz Company, is strictly prohibited.

Content

Introduction

Application

Safety Instruction

How to Use

Technical Specification

Maintenance

Warranty and After sales service

**Introduction**

The Microfuge-Vortex (Spin-Vortex) apparatus is one of the centrifuge family devices capable of performing vortexing and centrifugation operations on samples. Its primary application is in cellular and molecular laboratories, where the Microfuge-Vortex serves as a fundamental apparatus in these laboratories.

**Applications**

The Microfuge-Vortex finds applications in various biological science fields, including but not limited to:

• Molecular Biology

• Cell culture

• PCR (Polymerase Chain Reaction)

• Genetic Engineering Research

• Nanobiotechnology

• Microbiology

• Chemical Engineering

The Microfuge-Vortex, manufactured by Denagene Tajhiz Company, stands out as an excellent choice for users and researchers due to its user-friendly design, affordable pricing, and excellent warranty and after-sales service conditions.

**Safety Instruction**:

• Place the apparatus on a level surface.

• Securely tighten the screw on the device head.

• Ensure that the sample lids are securely closed before placing them for mixing.

• Do not use the apparatus in a high-humidity environment.

• Connect the apparatus only to a power source with the appropriate voltage.

• Disconnect the apparatus from the power source before any movement.

• Protect the apparatus from shaking and falling.

**How to Use:**

1. First, unpack the device.

2. Place the device on a smooth and level surface.

3. Initially, place the head and then the white washer on the apparatus shaft, and then tightly secure the screw on the head.

4. Connect the power cable at the back of the apparatus to a power source.

5. By pressing the power button, the apparatus will be ready to use. Now, you can perform microfuge action by pressing the continuous button and vortex action by pressing the skip button.




Figure 1) Sample Loading Configuration on the Microfuge-Vortex Apparatus

**Technical Specification**

|  |  |
| --- | --- |
| **Technical Specification** | |
| Model | D-3000 |
| Maximum Speed | 3000 rpm |
| Capacity | 1.5 ml |
| 0.5 ml |
| 0.2 ml |
| Input Voltage | 220 V 50-60 Hz |
| Dimension | 20 cm x 15 cm x 11 cm |
| Weight | 3.6 kg |
| Vortexing Capability | yes |

**Maintenance:**

• In case of any issues with the apparatus, never attempt to open it, and promptly contact Denagene Tajhiz Company’s Technical department.

• Avoid using strong corrosive substances such as acetone and benzene to clean the apparatus.

• It is advisable to clean the apparatus using a soft, damp cloth.

Warranty and After-Sales Service:

• Denagene Tajhiz Company provides a one-year warranty for the Vortex Mixer.

• The Vortex Mixer, manufactured by Denagene Tajhiz Company, comes with 10 years of after-sales service.

Documentation and Support

To obtain support for the latest services and support information for all locations, go to:

[www.Denagene.com](http://www.Denagene.com)

At the website, you can:

• Access worldwide telephone and fax numbers to contact Technical Support and Sales facilities

• Search through frequently asked questions (FAQs)

• Submit a question directly to Technical Support

• Search for user documents, SDSs, vector maps and sequences, application notes, formulations, handbooks, certificates of analysis, citations, and other product support documents

• Obtain information about customer training

• Download software updates and patches

Contact Us:

[info@denagene.com](mailto:info@denagene.com)‌